luminescence Dating of Sediments from archaeological site in JASTRZEBNIK Cave, the Czestochowa Upland, poland

K.R. PRZEGIETKA1, P. PALCZEWSKI1, K. CYREK2 AND L. CZYZEWSKI2

1 Institute of Physics, Faculty of Physics, Astronomy and Informatics, 
Nicolaus Copernicus University, Grudziadzka 5, 87-100 Torun, Poland 
przeciu@fizyka.umk.pl

2 Department of Palaeolithic and Mesolithic, Institute of Archaeology, Faculty of  History, 
Nicolaus Copernicus University, ul. Szosa Bydgoska 44/48, 87-100 Toruń, Poland

Jastrzebnik Cave is situated in the limestone rock located in the southern part of the Krakow-Czestochowa Upland (Poland). It is one of the most interesting Palaeolithic settlements in the region (Cyrek, 2009) and the stratigraphic sequence encompasses middle and upper Pleistocene sediments.

Four sediment samples were selected for luminescence dating. The OSL method, applying the single aliquots regenerative (SAR) dose protocol (Murray and Wintle, 2000) was used. The Riso reader, model TL/OSL-DA-20 (Bøtter-Jensen et al., 2010) equipped with blue LED light source for stimulation was used for OSL measurements. The newly established equivalent bleaching method (Przegiętka and Chruścińska, 2013)) was applied for estimation of equivalent dose. The extended preheat tests were performed in order to choose optimal temperature value for OSL readouts (Kijek et al., 2013). The annual dose rates comprised of beta and gamma radiations, were calculated on the base of gamma spectra measured in laboratory with help of gamma spectrometry (Oczkowski and Przegietka, 1998). The radon 222Rn escape was observed for some samples and this effect is investigated in details.

The luminescence chronology supports archaeological and geological research approaching the cave as a complex archaeo-environmental study. The results of sedimentological, geomorphological, palaeozoological and archaeological investigations accompanied by OSL ages provided the basis for the reconstruction of the history of habitation at the Jastrzebnik Cave, in the background of palaeoenvironmenal transformations.

References:

Bøtter-Jensen, L., Thomsen, K.J. and Jain, M. (2010) Review of optically stimulated luminescence (OSL) instrument al development for retrospective dosimetry, Radiation Measurements, 45, 253-257.

Cyrek, K., 2009. Archaeological studies in caves of the Czestochowa Upland. [in:] Stefaniak, K., Socha, P., Tyc, A. (ed.), Karst of the Czestochowa Upland and of the Eastern Sudetes: Palaeoenvironments and Protection. Uniwersytet Śląski. Wydział Nauk o Ziemi, Uniwersytet Wrocławski. Instytut Zoologiczny, Wrocław, Sosnowiec, s. 145-160.

Kijek, N., Chruścińska, A. and Przegiętka, K. (2013) On the dependence of Equivalent Dose on temperature of OSL measurements for sediment quartz grains and its implication in dating practice, Radiation Measurements, 56, 252 – 256.

Murray, A.S. and Wintle, A,G. (2000) Luminescence dating of quartz using an improved single-aliquot regenerative-dose protocol, Radiation Measurements, 32, 57-73.

Oczkowski, H.L. and Przegietka, K.R. (1998) Partial matrix doses for thermoluminescence dating, Physica Scripta 58 (5) 534-537.

Przegiętka, K.R. and Chruścińska, A. (2013) Analysis of Optical Bleaching of OSL Signal in Sediment Quartz, Radiation Measurements, 56, 257-261.